Value Engineering Worksheet

Use this worksheet to approach value engineering as strategic realignment, not arbitrary cost-cutting. The most effective VE happens at two moments: the end of Schematic Design (biggest impact, lowest cost to change) and the end of Design Development. Start by identifying what cannot be cut, then find reductions elsewhere.

Project Title: _________________________________________________________________

Date: _________________________________________________________________

Part 1: Non-Negotiables — What Defines This Project

Before evaluating any potential cuts, identify the elements that define your project's essence. These are off the table.

| Rank | Non-Negotiable Element | Why This Is Essential | Estimated Cost |
| --- | --- | --- | --- |

If someone asked "What makes this house yours?" in one sentence, the answer would be:

___________________________________________________________________________

___________________________________________________________________________

___________________________________________________________________________

Part 2: VE Opportunity Evaluation

For each potential reduction, evaluate both the savings and the impact. A change that saves $10,000 but undermines the project's character is not value engineering — it's just cutting.

Category A: Square Footage Reduction

| Area/Space | Current SF | Proposed SF | Reduction | Est. Savings | Design Impact (H/M/L) | Quality Impact (H/M/L) | Decision (Accept/Reject/Defer) |
| --- | --- | --- | --- | --- | --- | --- | --- |

Category B: Geometry Simplification

Items to consider: roof complexity, corner count, cantilevers, curved elements, multi-level transitions.

| Element | Current Approach | Simplified Approach | Est. Savings | Design Impact (H/M/L) | Quality Impact (H/M/L) | Decision (Accept/Reject/Defer) |
| --- | --- | --- | --- | --- | --- | --- |

Category C: Material Optimization

Items: substituting materials that achieve same intent at lower cost, standardizing sizes, reducing custom fabrication.

| Material/Element | Current Spec | Optimized Spec | Est. Savings | Design Impact (H/M/L) | Quality Impact (H/M/L) | Decision (Accept/Reject/Defer) |
| --- | --- | --- | --- | --- | --- | --- |

Category D: Phased Construction

Note: If deferring, ensure rough-in infrastructure (conduit, plumbing stubs, structural blocking) is installed now to avoid opening walls later.

| Element to Defer | Est. Cost Now | Est. Cost Later | Feasibility of Deferral (Easy/Moderate/Difficult) | Infrastructure Needed Now (Y/N) | Decision |
| --- | --- | --- | --- | --- | --- |

Category E: Specification Adjustments

Consider: appliance tiers, fixture grades, finish levels in secondary spaces.

| Specification | Current Level | Adjusted Level | Est. Savings | Design Impact (H/M/L) | Quality Impact (H/M/L) | Decision (Accept/Reject/Defer) |
| --- | --- | --- | --- | --- | --- | --- |

VE Summary

| Original Estimate | Total VE Savings | Adjusted Estimate | Remaining Budget Gap (if any) |
| --- | --- | --- | --- |
| $_______________ | $_______________ | $_______________ | $_______________ |

Is the adjusted estimate within acceptable range of budget?

☐ Yes — proceed to Construction Documents

☐ No — additional VE round needed

☐ No — project scope must be fundamentally reconsidered

Next Steps

1. Schedule a VE session with your architect and design team early in Schematic Design to maximize impact.

2. Prioritize non-negotiables first, then evaluate opportunities in each category.

3. Quantify both cost savings and design/quality impacts to make informed decisions.

4. Document all decisions and communicate approved changes to your general contractor.