Permit Submittal Package Checklist

Use this checklist to verify your permit package is complete before submission. Incomplete packages are the most common cause of delays — missing a single document can add weeks to your timeline. Treat plan review as free expert consultation, not an obstacle.

Project Title: _________________________________________________________________

Date: _________________________________________________________________

Jurisdiction: ________________________   Submittal Date: ________________________

Section 1: Architectural Drawings

| Document | Complete | Reviewed by Architect | Code Compliance Verified | Notes |
| --- | --- | --- | --- | --- |
| Site Plan (setbacks, easements, lot coverage) |  |  |  |  |
| Floor Plans (all levels, dimensioned) |  |  |  |  |
| Roof Plan |  |  |  |  |
| Exterior Elevations (all sides) |  |  |  |  |
| Building Sections |  |  |  |  |
| Wall Sections and Details |  |  |  |  |
| Door and Window Schedules |  |  |  |  |
| Finish Schedule |  |  |  |  |
| Accessibility Compliance (if applicable) |  |  |  |  |

Section 2: Structural Drawings

| Document | Complete | Reviewed by Architect | Code Compliance Verified | Notes |
| --- | --- | --- | --- | --- |
| Foundation Plan |  |  |  |  |
| Framing Plans (floor, roof) |  |  |  |  |
| Structural Details and Connections |  |  |  |  |
| Structural Calculations (signed/sealed by engineer) |  |  |  |  |
| Lateral Design (seismic/wind) |  |  |  |  |
| Special Inspections Schedule (if required) |  |  |  |  |

Section 3: MEP Drawings

| Document | Complete | Reviewed by Architect | Code Compliance Verified | Notes |
| --- | --- | --- | --- | --- |
| Mechanical/HVAC Layout |  |  |  |  |
| HVAC Load Calculations (Manual J or equivalent) |  |  |  |  |
| Plumbing Layout (supply and waste) |  |  |  |  |
| Electrical Layout (panel schedule, circuits) |  |  |  |  |
| Energy Code Compliance Documentation |  |  |  |  |
| Lighting Plan |  |  |  |  |

Section 4: Civil Drawings

| Document | Complete | Reviewed by Architect | Code Compliance Verified | Notes |
| --- | --- | --- | --- | --- |
| Grading and Drainage Plan |  |  |  |  |
| Utility Connection Plan (water, sewer, gas, electric) |  |  |  |  |
| Stormwater Management Plan (if required) |  |  |  |  |
| Erosion and Sediment Control Plan |  |  |  |  |
| Driveway/Access Plan |  |  |  |  |

Section 5: Supporting Documents

| Document | Complete | Reviewed by Architect | Code Compliance Verified | Notes |
| --- | --- | --- | --- | --- |
| Geotechnical/Soils Report |  |  |  |  |
| Land Survey (current) |  |  |  |  |
| Title Report |  |  |  |  |
| HOA/CC&R Approval (if applicable) |  |  |  |  |
| Environmental Review (if required) |  |  |  |  |
| Septic Design (if not on sewer) |  |  |  |  |
| Well Permit (if applicable) |  |  |  |  |
| Tree Preservation Plan (if required) |  |  |  |  |
| Historic Review Approval (if applicable) |  |  |  |  |

Section 6: Application Materials

| Document | Complete | Reviewed by Architect | Code Compliance Verified | Notes |
| --- | --- | --- | --- | --- |
| Permit Application Form (completed and signed) |  |  |  |  |
| Application Fee (amount: $___) |  |  |  |  |
| Owner Authorization Letter (if filed by agent) |  |  |  |  |
| Contractor License Information |  |  |  |  |
| Design Professional Stamps/Seals on All Drawings |  |  |  |  |

Section 7: Plan Review Comment Tracking

Note: Most jurisdictions provide comments within 2-6 weeks. Track each comment to resolution and confirm resubmittal addresses all items.

| Comment # | Drawing/Sheet Reference | Reviewer Comment | Resolution/Response | Responsible Party | Resubmittal Date |
| --- | --- | --- | --- | --- | --- |

Section 8: Timeline

| Milestone | Planned Date | Actual Date | Notes |
| --- | --- | --- | --- |
| Package submitted |  |  |  |
| First review comments received |  |  |  |
| Revisions completed |  |  |  |
| Resubmittal |  |  |  |
| Second review (if needed) |  |  |  |
| Permit approved/issued |  |  |  |
| Construction start eligible |  |  |  |

Next Steps

1. Coordinate with your architect and engineers to ensure all documents are complete and consistent.

2. Verify that all plans are stamped and sealed by licensed professionals as required by your jurisdiction.

3. Submit the complete package to the building department and request an estimated review timeline.

4. Track all reviewer comments and address them systematically; resubmit when ready.