Module 3 Lesson 5
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Performance Target Setting Worksheet
Use this worksheet to translate your sustainability and comfort goals into specific, measurable targets your design team can engineer toward. Vague aspirations like "be energy efficient" lead to vague results — quantified targets lead to accountability.
Project Title: ___________________________________________________________
Date: ___________________________________________________________________
Section 1: Energy Performance
Target EUI (Energy Use Intensity): __________ kBtu/sf/yr
Reference: Typical new home: 40-60 | High-performance: 20-30 | Net-zero capable: <15
Certification pathway:  ☐ None  ☐ LEED  ☐ Passive House  ☐ Net-Zero  ☐ Other: ______________
Energy modeling required?  ☐ Yes  ☐ No
Renewable energy planned?  ☐ Solar PV  ☐ Solar thermal  ☐ Geothermal  ☐ None  ☐ Other: ______________
Section 2: Building Envelope
	Assembly
	Target U-Value
	Target R-Value
	Notes

	Walls
	
	
	

	Roof/Ceiling
	
	
	

	Foundation/Slab
	
	
	

	Windows (North)
	
	
	

	Windows (South)
	
	
	

	Windows (East)
	
	
	

	Windows (West)
	
	
	


Reference U-Values: Walls R-15→U-0.065 | Roof R-30→U-0.033 | Windows vary by frame type
Section 3: Air Tightness
Target ACH50: __________
Reference: Code minimum: ~5.0 | Good: 3.0 | Excellent: 1.5 | Passive House: 0.6
Blower door test planned?  ☐ Yes  ☐ No
Pre-drywall test?  ☐ Yes  ☐ No
Section 4: Indoor Air Quality
Mechanical ventilation system:  ☐ ERV  ☐ HRV  ☐ Other: ______________
Fresh air target: __________ CFM
Filtration level:  ☐ MERV 8  ☐ MERV 13  ☐ HEPA  ☐ Other: ______________
Low-VOC materials required?  ☐ Yes  ☐ No
Section 5: Water Performance
Indoor water use target: __________ gallons/person/day
Reference: National average: ~80 | Efficient: ~50
Rainwater harvesting?  ☐ Yes  ☐ No
Greywater reuse?  ☐ Yes  ☐ No
Irrigation:  ☐ Drip  ☐ Smart controller  ☐ Native/drought-tolerant landscape  ☐ None
Section 6: Daylight & Comfort
Daylight factor target: __________ %
Reference: Good: 2-5%
Thermal comfort: Target indoor temp range __________ to __________ °F
Acoustic targets:  ☐ STC ratings for walls __________  ☐ Impact insulation class __________
Section 7: Operating Cost Comparison
	Category
	Conventional Home (est.)
	Your Target Home (est.)
	Annual Savings

	Heating
	$
	$
	$

	Cooling
	$
	$
	$

	Hot Water
	$
	$
	$

	Lighting
	$
	$
	$

	Appliances
	$
	$
	$

	Water/Sewer
	$
	$
	$

	Total
	$
	$
	$


Estimated payback period for performance upgrades: __________ years
Section 8: Next Steps
Share this completed worksheet with your design and engineering team.
Request preliminary energy modeling to validate feasibility of targets.
Confirm certification requirements and establish monitoring/verification protocols.
Schedule follow-up review of modeling results before finalizing specifications.
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