Performance Target Setting Worksheet

Use this worksheet to translate your sustainability and comfort goals into specific, measurable targets your design team can engineer toward. Vague aspirations like "be energy efficient" lead to vague results — quantified targets lead to accountability.

Project Title: ___________________________________________________________

Date: ___________________________________________________________________

Section 1: Energy Performance

Target EUI (Energy Use Intensity): __________ kBtu/sf/yr

Reference: Typical new home: 40-60 | High-performance: 20-30 | Net-zero capable: <15

Certification pathway:  ☐ None  ☐ LEED  ☐ Passive House  ☐ Net-Zero  ☐ Other: ______________

Energy modeling required?  ☐ Yes  ☐ No

Renewable energy planned?  ☐ Solar PV  ☐ Solar thermal  ☐ Geothermal  ☐ None  ☐ Other: ______________

Section 2: Building Envelope

| Assembly | Target U-Value | Target R-Value | Notes |
| --- | --- | --- | --- |
| Walls |  |  |  |
| Roof/Ceiling |  |  |  |
| Foundation/Slab |  |  |  |
| Windows (North) |  |  |  |
| Windows (South) |  |  |  |
| Windows (East) |  |  |  |
| Windows (West) |  |  |  |

Reference U-Values: Walls R-15→U-0.065 | Roof R-30→U-0.033 | Windows vary by frame type

Section 3: Air Tightness

Target ACH50: __________

Reference: Code minimum: ~5.0 | Good: 3.0 | Excellent: 1.5 | Passive House: 0.6

Blower door test planned?  ☐ Yes  ☐ No

Pre-drywall test?  ☐ Yes  ☐ No

Section 4: Indoor Air Quality

Mechanical ventilation system:  ☐ ERV  ☐ HRV  ☐ Other: ______________

Fresh air target: __________ CFM

Filtration level:  ☐ MERV 8  ☐ MERV 13  ☐ HEPA  ☐ Other: ______________

Low-VOC materials required?  ☐ Yes  ☐ No

Section 5: Water Performance

Indoor water use target: __________ gallons/person/day

Reference: National average: ~80 | Efficient: ~50

Rainwater harvesting?  ☐ Yes  ☐ No

Greywater reuse?  ☐ Yes  ☐ No

Irrigation:  ☐ Drip  ☐ Smart controller  ☐ Native/drought-tolerant landscape  ☐ None

Section 6: Daylight & Comfort

Daylight factor target: __________ %

Reference: Good: 2-5%

Thermal comfort: Target indoor temp range __________ to __________ °F

Acoustic targets:  ☐ STC ratings for walls __________  ☐ Impact insulation class __________

Section 7: Operating Cost Comparison

| Category | Conventional Home (est.) | Your Target Home (est.) | Annual Savings |
| --- | --- | --- | --- |
| Heating | $ | $ | $ |
| Cooling | $ | $ | $ |
| Hot Water | $ | $ | $ |
| Lighting | $ | $ | $ |
| Appliances | $ | $ | $ |
| Water/Sewer | $ | $ | $ |
| Total | $ | $ | $ |

Estimated payback period for performance upgrades: __________ years

Section 8: Next Steps

Share this completed worksheet with your design and engineering team.

Request preliminary energy modeling to validate feasibility of targets.

Confirm certification requirements and establish monitoring/verification protocols.

Schedule follow-up review of modeling results before finalizing specifications.