Window Performance Comparison Matrix

Use this matrix to compare window options across performance, cost, and lead time. Windows can represent 15-25% of your home's construction budget and are the single largest variable in envelope performance — getting this decision right has outsized impact.

Project Title: ___________________________________________________________

Date: ___________________________________________________________________

Window Specifications by Orientation

Optimal window performance varies by orientation. South-facing windows benefit from higher SHGC to capture passive solar heat, while west-facing windows typically need lower SHGC to manage afternoon overheating.

| Specification | North | South | East | West |
| --- | --- | --- | --- | --- |
| Target U-Value |  |  |  |  |
| Target SHGC |  |  |  |  |
| Target VLT |  |  |  |  |
| Max Air Leakage |  |  |  |  |
| Glazing Type (Double/Triple) |  |  |  |  |
| Special Coatings (Low-E position) |  |  |  |  |

Product Comparison

| Criteria | Option A | Option B | Option C |
| --- | --- | --- | --- |
| Manufacturer |  |  |  |
| Product Line |  |  |  |
| Frame Material |  |  |  |
| U-Value |  |  |  |
| SHGC |  |  |  |
| VLT |  |  |  |
| Air Leakage Rating |  |  |  |
| Glazing (Double/Triple) |  |  |  |
| Frame Color Options |  |  |  |
| Cost per SF (installed) |  |  |  |
| Lead Time (weeks) |  |  |  |
| Warranty (years) |  |  |  |
| Custom Sizes Available? |  |  |  |
| Local Dealer/Rep? |  |  |  |
| Score (1-5) |  |  |  |

Budget Impact Analysis

Total window area (estimated SF): ___________

Option A total cost:  ___ SF x $___/SF = $___________

Option B total cost:  ___ SF x $___/SF = $___________

Option C total cost:  ___ SF x $___/SF = $___________

Total construction budget: $___________

Window cost as % of budget: ___%

Custom vs. Standard Size Analysis

| Window Location | Plan Size | Nearest Standard Size | Cost Difference | Aesthetic Impact | Decision (Custom/Standard) |
| --- | --- | --- | --- | --- | --- |

Custom sizes typically add 30-50% cost premium and 4-8 weeks to lead time. Evaluate whether the design benefit justifies the premium for each opening.

Selection Summary

Selected manufacturer/product: _____________________________________________________________

Frame material: _____________________________________________________________

Key performance specs: _____________________________________________________________

Total estimated window budget: $___________

Order lead time: ___________ weeks

Order must be placed by (date): ___________

Next Steps

Contact manufacturers to request detailed specs and pricing for your window order.

Evaluate custom vs. standard sizes and finalize your window selections with your architect.

Place your window order well in advance of construction to account for lead times.